Section 1 : PRODUCT AND COMPANY IDENTIFICATION Product name: Hydrogen (Gaseous), Supplier/ Manufacturer: Star special air gases pvt.ltd Plot no.324,sector 7,phase2 IMT,Gurgaon,Manesar India GUIDE 115 Emergency phone: 0124-4368121/. 23/25/30.

Section 2 : COMPOSITION/ INGREDIENT INFORMATION C.A.S. CONCENTRATION % Ingredient Name OSHA PEL ACGIH TLV OSHA STEL 1333-74-0 Typically > 99.99 HYDROGEN NONE Simple asphyxiant NONE

Section 3 : HAZARD IDENTIFICATION Emergency Overview: Hydrogen gas is colorless, odorless and flammable. It forms flammable and explosive mixtures with air over a wide range of concentrations. The chief physical hazard associated with releases of the gas is asphyxiation by displacement of air and hence, oxygen. Hydrogen presents a serious fire hazard when accidentally released. Emergency personnel must practice extreme caution when approaching hydrogen releases hydrogen burns with an almost invisible blue flame which can cause very localized heating and explosion or rupture of pressure vessels. It is non-toxic. The primary health hazard is asphyxiation by displacement of oxygen. Route of entry: Inhalation, skin and eye contact. Effects of acute exposure Eye contact: No adverse effects expected. Skin contact: No adverse effects expected. . Inhalation: Asphyxiant. May cause dizziness, ringing in ears Can cause nausea, vomiting. May result in unconsciousness. May cause excitation, excess salivation, rapid breathing. May cause headaches and drowsiness. May cause stinging of the nose and throat. Ingestion: Not a likely route of exposure. Effects of chronic exposure: None known - none expected..

Section 4 : FIRST AID MEASURES Skin contact: None required. Eye contact: None required. Inhalation: RESCUERS SHOULD NOT ATTEMPT TO RETRIEVE VICTIMS OF EXPOSURE TO THIS PRODUCT WITHOUT ADEQUATE PERSONAL PROTECTIVE EQUIPMENT. At a minimum, Self-Contained Breathing Apparatus should be worn. IN ADDITION, RESCUERS MUST BE MADE AWARE OF HIGH POTENTIAL FOR FIRE AND EXPLOSION. Remove victim(s) to fresh air, as quickly as possible. If not breathing qualified personnel should administer artificial respiration. Get medical attention. IKeep person warm and at rest. Ingestion: No first aid should be needed. Not considered a potential route of exposure. Product is a gas..

Section 5 : FIRE FIGHTING MEASURES Flammability: Flammable over wide range of concentrations in air. Conditions of flammability: Contact with open flames or electrostatic discharge. . Extinguishing media: Carbon dioxide, regular dry chemical, fine water mist. . Special procedures: Self-contained breathing apparatus required. Firefighters should wear the usual protective gear. Cool fire exposed containers with water spray from greatest possible distance. Remove containers from fire area if without risk. Personnel should be evacuated, if necessary, to upwind area. Unless and until flow of gas can be cut off, let the fire burn. Continue to cool containers until well after leak is stopped and fire is extinguished. Recognize that hydrogen gas is very light and rises rapidly in air, if gas is not burning, it may collect in the upper levels of structures, creating an explosion hazard. Auto-ignition temperature: 1058 ˚F (570 ˚C). Flash point (°C), method: Not applicable. Lower flammability limit (% vol): 4.0% Upper flammability limit (% vol): 75% Explosion Data Sensitivity to mechanical impact: Avoid impact against container. Explosive power: Closed containers may rupture or explode due to pressure build-up when exposed to extreme heat. Cylinders are equipped with temperature and pressure relief devices but may still rupture under fire conditions.

Section 6 : ACCIDENTAL RELEASE MEASURES Leak/Spill: Evacuate all non-essential personnel. Stop leak without risk. Wear gloves and goggles Use a self-contained breathing apparatus. Ventilate area. Hydrogen rises and disburses rapidly. l

Section 7 : HANDLING AND STORAGE Handling procedures and equipment: Protect system components against physical damage. Use adequate ventilation. Avoid inhalation. Never work on a pressurized system. If there is a leak, close the upstream valve, blow down the system by venting to a safe place, then repair the leak. Storage requirements: Use storage containers, piping, valves and fittings designed for storage and distribution of Gaseous Hydrogen. Protect cylinders against physical damage. Store in cool, dry, well-ventilated, fireproof area, away from flammable materials and corrosive atmospheres. Store away from heat and ignition sources and out of direct sunlight. Do not store near elevators, corridors or loading docks. Do not allow area where cylinders are stored to exceed 52°C (125°F). Post "No Smoking or Open Flames" signs in use and storage areas. Electrical equipment in storage areas must meet codes for Class 1 hazardous areas and be explosion proof. Move cylinders with a suitable hand-truck. Do not drag, slide or roll cylinders. Do not drop cylinders or permit them to strike each other. Secure cylinders firmly. Leave the valve protection cap in-place (where provided) until cylinder is placed into service and after it is taken out of service. Use designated CGA fittings and other support equipment. Do not use adapters. Do not heat cylinder by any means to increase the discharge rate of the product from the cylinder. Use check valve or trap in discharge line to prevent hazardous backflow into the cylinder. Do not use oils or grease on gas-handling fittings or equipment. Piped systems must be grounded. Use soapy water for leak checks, use no open flames around hydrogen systems. After use, close main cylinder valve. Replace valve protection cap (where provided). Mark empty cylinders "EMPTY".

Section 8 : EXPOSURE CONTROLS / PERSONAL PROTECTION Precautionary Measures Gloves/Type: Wear appropriate gloves. Respiratory/Type: None required in normal use, only in confined spaces. . Eye/Type: As per OSHA29 CFR 1910.133 and local regulations. Footwear/Type: Safety boots per local regulations. Clothing/Type: Wear adequate protective clothes. Other/Type: As per OSHA29 CFR 1910.133 and local regulations Ventilation requirements: Mechanical ventilation is satisfactory. Ensure oxygen concentration remains above 19.5% and Carbon Dioxide concentration does not exceed 5000 ppm, Local exhaust at points of emission preferred. Exposure limit of material Simple asphyxiant.

Section 9 : PHYSICAL AND CHEMICAL PROPERTIES Physical state: Gas Appearance & odor: Colorless, odorless gas. Odor threshold (PPM): Odorless. Vapor pressure : Gas@ 70°F (21°C) Vapor sp. gravity (air=1): 0.069 @ 70°F (21°C) Boiling point : -252.8°C (760 mmHg) -423.0°F Freezing point : -259°C -434.6°F Solubility in water (%): Slight.

Section 10 : STABILITY AND REACTIVITY Chemical stability: Product is stable. Conditions of reactivity: Heat Hazardous polymerization: Will not occur. Incompatible substances: Oxidizing materials (oxygen, chlorine, bromine, chlorine bromide, nitrogen trifluoride) Metal oxides, metal salts, halo carbons. Hazardous decomposition products: None.

Section 11 : TOXICOLOGICAL INFORMATION LD50 of product, species & route: Simple asphysiant. LC50 of product, species & route: Simple asphysiant..

Section 13 : DISPOSAL CONSIDERATIONS Waste disposal: Gas will dissipate in air. Cylinders should be returned in the original shipping container, properly labeled, with residual product, valve outlet plugs or caps secured and valve protection cap in place.

Section 14 : TRANSPORT INFORMATION DOT/ TDG classification: North American Emergency Response Guidebook Number: For cylinder shipments: Hydrogen, compressed UN1049 Class 2.1(Flammable Gas). 115

Section 15 : REGULATORY INFORMATION WHMIS classification: A, B1 DSL status: Appears on DSL.

Section 16 : OTHER INFORMATION

Definitions and other useful data: CAS #: The Chemical Abstract Service Number which uniquely identifies each constituent. ACGIH - American Conference of Governmental Industrial Hygienists, a professional association which establishes exposure limits. TLV - Threshold Limit Value - an airborne concentration of a substance which represents conditions under which it is generally believed that nearly all workers may be repeatedly exposed without adverse effect. OSHA - U.S. Occupational Safety and Health Administration. PEL - Permissible Exposure Limit - The same value as a TLV, except it is enforceable by OSHA. IDLH - Immediately Dangerous to Life and Health - A concentration from which one can escape within 30-minutes without suffering permanent injury. NATIONAL FIRE PROTECTION ASSOCIATION: Health Hazard Rating Scale (Blue): 0 (material that on exposure under fire conditions would offer no hazard beyond that of ordinary combustible materials); 1 (materials that on exposure under fire conditions could cause irritation or minor residual injury); 2 (materials that on intense or continued exposure under fire conditions could cause temporary incapacitation or possible residual injury); 3 (materials that can on short exposure could cause serious temporary or residual injury); 4 (materials that under very short exposure could cause death or major residual injury). Flammability Hazard Rating Scale (Red): 0 (minimal hazard); 1 (materials that require substantial pre-heating before burning); 2 (combustible liquid or solids; liquids with a flash point of 38-93°C [100-200°F]); 3 (Class IB and IC flammable liquids with flash points below 38°C [100°F]); 4 (Class IA flammable liquids with flash points below 23°C [73°F] and boiling points below 38°C [100°F]. Reactivity Hazard Rating Scale(Yellow): 0 (normally stable); 1 (material that can become unstable at elevated temperatures or which can react slightly with water); 2 (materials that are unstable but do not detonate or which can react violently with water); 3 (materials that can detonate when initiated or which can react explosively with water); 4 (materials that can detonate at normal temperatures or pressures). TOXICOLOGICAL INFORMATION: Possible health hazards as derived from human data, animal studies, or from the results of studies with similar compounds are presented. Definitions of some terms: LD50 -Lethal Dose (solids & liquids) which kills 50% of the exposed animals; LC50 - Lethal Concentration (gases) which kills 50% of the exposed animals; ppm concentration expressed in parts of material per million parts of air or water; mg/m3 concentration expressed in weight of substance per volume of air; mg/kg quantity of material, by weight. REGULATORY INFORMATION: EPA is the U.S. Environmental Protection Agency. WHMIS is the Canadian Workplace Hazardous Materials Information System. DOT and TC are the U.S. Department of Transportation and the Transport Canada, respectively, which assign DOT and TDG (Transportation of Dangerous Goods) identification numbers, hazard classifications, and proper shipping name and shipping label information.This material is hazardous as defined by 49 CFR 172.101 of the US Department of Transportation and Dangerous Goods as defined by Transport Canada Transportation of Dangerous Goods Regularions.

USE OF THIS INFORMATION: STAR SPECIAL AIR GASES PVT offers this information to customers, employees, contractors, and the general public to promote the safe use of this product through awareness of product hazards and safety information. Customers and others who use or transport or sell this product to others should: 1) Disseminate this information internally to all workplace areas, employees, agents and contractors likely to encounter this product; 2) Provide supplemental hazards awareness, safety information, operation and maintenance procedures to the workplace areas and employees, agents and contractors likely to encounter this product; 3) Furnish this information to all their customers who purchase this product; and 4) Ask each purchaser or user of the product to notify its employees and customers of the product hazards and safety information.

DISCLAIMER OF EXPRESSED AND IMPLIED WARRANTIES: Star special air gases. has taken reasonable care in preparing this document, however, since the use of this information and the conditions of use of the product are not within the control of STAR , it is the user's obligation to determine the conditions of safe use of this product. The information in this document is offered with no warranties or representations as to accuracy or completeness and it is the responsibility of each individual to determine the suitability of the information for their particular purpose(s).